Response Letter

Thesis Title: Robust Cardiac Feature Monitoring Based on Millimeter-Wave Radar

Student Name: Yuanyuan Zhang

Principle Supervisor: Dr. Rui Yang

I would like to thank the examiners for their constructive comments and suggestions that have helped improve the quality of my thesis. The thesis has undergone a thorough revision according to these comments. Please see below our responses. I have carefully followed all constructive comments from the examiners and have highlighted the major changes in the revised manuscript in blue.

General Suggestions 1:

To strengthen the structure and coherence, a clear mapping between each publication (published or under review) and the corresponding thesis chapters should be provided. This would help the reader understand how each study integrates into the overarching research narrative.

Response:

Thanks for this valuable suggestion. I have highlighted the link between publications and different chapters by attaching the associated chapter at the end of each publication (in the Publication Section). Also, I have added one paragraph to elaborate on the connections between the thesis chapters and journal papers as suggested in another comment. The detailed content for the revision and response will be given in the corresponding comments.

General Suggestions 2:

Fine tune ‘Abstract’ section, i.e., first and second paragraphs.

Response:

Thanks for the question in the later comments, and I have revised the Abstract part by firstly clarifying the relationship between all the challenges and the proposed methods. In addition, I have also corrected the tense issue as mentioned to avoid ambiguity. The detailed content for the revision and response will be given in the corresponding comments.

General Suggestions 2:

Double-check minor typos/grammar/formatting issues, e.g., Title: ‘based on’ -> ‘Based on’ or change ‘based on’ to ‘with’. Page 2, last line: ‘after the design…’ -> ‘with the design’ or ‘through the design’. Page 3, section 1.2: ‘with orders more amplitude…’ -> ‘with an amplitude order of magnitude greater …’

Response:

Thanks for pointing out all these issues, and I have corrected them in the revised version. Also, I have gone through the thesis and corrected other mistakes:

Section 2.1.2.2: glsmmWave  mmWave

Section 5.4.3.4 capture more dependency  capture more dependencies

Section 6.4.1: tolerant the low-SNR scenarios  tolerate the low-SNR scenarios

Section 6.5.2: yield a bad morphological and peak accuracy  yield poor morphological and peak accuracy

Comment 1 (for Abstract):

The abstract identifies four challenges (a–d), but the methods are classified into three. It would be useful to discuss whether it is worth distinguishing short-term ECG recovery from long-term ECG recovery. Could one method address two challenges simultaneously?

Response:

Thank you for figuring out this ambiguity. In my thesis, each chapter focuses on one challenge. Therefore, challenge (b) corresponds to Chapter 4 for the modelling and realization of short-term ECG recovery, while challenge (c) is overcome in Chapter 5 to realize long-term ECG recovery. In the revised thesis, I have clarified the correspondence between challenges and methods as shown in the Abstract, with the detailed content also listed below.

Based on the challenges above, multiple novel algorithms and deep learning frameworks are proposed: (a) a cardio-focusing and -tracking (CFT) algorithm is proposed to iteratively approach the point with a high-SNR radar signal extracted; (b) a deep learning model called radarODE is designed to realize robust single-cycle ECG recovery; (c) a multi-task learning framework called radarODE-MTL is proposed to realize robust long-term ECG recovery; (d) a data augmentation method Horcrux and a transfer learning framework RFcardi are proposed to jointly decrease the demand for data acquisition. Extensive experiments are performed based on both public and private datasets to show the effectiveness of the proposed algorithms and frameworks. It is believed that this thesis contributes to the general development of the wireless sensing community and brings the future applications of wireless wellness monitoring closer to our daily lives.

Comment 2 (for Abstract):

Line 2: ‘this thesis will focus on…’ -> change to present tense. In additional, the first paragraph focuses on the clarification of general subject area. ‘this thesis will focus…’seems out of place.

Response:

Thanks for the suggestion. I have rewritten the first paragraphs to avoid the tense issue and also ensure coherence for the abstract section. The detailed revision is shown below.

Wireless sensing empowers numerous emerging industries such as autonomous driving and device-free monitoring. By introducing the contactless sensors such as millimeter-wave (mmWave) radar, a promising and challenging research area is emerging to realize robust and remote vital sign monitoring, enabling contactless monitoring for future in-cabin monitoring, elderly people caregiving and even clinical diagnosis. In recent years, frequency-modulated continuous wave (FMCW) radar with high operating frequency is becoming mainstream in radar front-end design, encouraging the related research to extract fine-grained ECG signals as the golden standard in clinical diagnosis and realize robust monitoring in the presence of real-world noises.

Comment 3 (for Publication):

Clarify more clearly the connections between the thesis chapters and journal papers e.g., in the introduction section.

Response:

Thanks for the comment, and I have updated the content in the Publication section and also added one paragraph to elaborate on the connections between the thesis chapters and journal papers as suggested in another comment. The detailed content for the revision and response will be given in the corresponding comments.

Revision for the Publication Section

Journal paper:

1. Yuanyuan Zhang, Rui Yang, Yutao Yue, Eng Gee Lim, Zidong Wang, “An Overview of Algorithms for Contactless Cardiac Feature Extraction from Radar Signals: Advances and Challenges”, IEEE Transactions on Instrumentation and Measurement, Jul. 2023. (Chapter 2)

2. Yuanyuan Zhang, Runwei Guan, Lingxiao Li, Rui Yang, Yutao Yue, Eng Gee Lim, “radarODE: An ODE-Embedded Deep Learning Model for Contactless ECG Reconstruction from Millimeter-Wave Radar”, IEEE Transactions on Mobile Computing, Apr. 2025. (Chapter 4)

3. Yuanyuan Zhang, Rui Yang, Yutao Yue, Eng Gee Lim, “radarODE-MTL: A Multi-Task Learning Framework with Eccentric Gradient Alignment for Robust Radar-Based ECG Reconstruction”, IEEE Transactions on Instrumentation and Measurement, Apr. 2025. (Chapter 5)

Conference paper:

1. Yuanyuan Zhang, Sijie Xiong, Rui Yang, Eng Gee Lim, Yutao Yue, “Recover from Horcrux: A Spectrogram Augmentation Method for Cardiac Feature Monitoring from Radar Signal Components”, in 2025 47th Annual International Conference of the IEEE Engineering in Medicine & Biology Society (EMBC2025), Jul. 2025. (Chapter 6)

Under Review:

1. Yuanyuan Zhang, Haocheng Zhao, Sijie Xiong, Rui Yang, Eng Gee Lim, Yutao Yue, “From High-SNR Radar Signal to ECG: A Transfer Learning Model with Cardio-Focusing Algorithm for Scenarios with Limited Data”, IEEE Transactions on Mobile Computing. (Under Major Revision) (Chapter 3)

Revision for the Introduction Section (Section 1.4)

All the main chapters are associated with the published or under review publications and are modified from the corresponding manuscripts. In detail, Chapter 2 is based on the review paper published in the IEEE Transactions on Instrumentation and Measurement (TIM) named “An Overview of Algorithms for Contactless Cardiac Feature Extraction From Radar Signals: Advances and Challenges”. Chapter 3 focuses on the eﬃcient high-SNR radar signal collection and is modified from the under-reviewed paper submitted to IEEE Transactions on Mobile Computing (TMC) named “From High-SNR Radar Signal to ECG: A Transfer Learning Model with Cardio-Focusing Algorithm for Scenarios with Limited Data”. Chapter 4 and 5 are for single-cycle and long-term radar-based ECG recovery, and contents are based on two publications in TMC and TIM, named “radarODE: An ODE-Embedded Deep Learning Model for Contactless ECG Reconstruction from Millimeter-Wave Radar” and “radarODE-MTL: A Multi-Task Learning Framework with Eccentric Gradient Alignment for Robust Radar-Based ECG Reconstruction”, respectively. Lastly, Chapter 6 contains the methods for alleviating data scarcity based on the content in the conference paper (EMBC2025) named “Recover from Horcrux: A Spectrogram Augmentation Method for Cardiac Feature Monitoring from Radar Signal Components”.

Comment 4 (for Contents):

Section structure may be expanded to cover more subsubsection information for clarity.

Response:

Thanks for pointing out this issue, and I have added the depth of the content table to show the “subsubsection”.

Comment 5 (for Chapter 1):

In Section 1.3, the challenge is phrased as “Efficient High-SNR Signal Acquisition.” It may be intended as “Inefficient High-SNR Signal Acquisition,” to better reflect that acquiring high-quality signals remains a challenge. The phrasing of the other challenge statements should also be clarified.

Response:

Thank you for pointing out this ambiguity, and I have changed the title for all the challenges as:

Section 1.3.1: Inefficient High-SNR Signal Acquisition

Section 1.3.2: Non-robust Single-cycle ECG Generation

Section 1.3.3: Non-robust Long-term ECG Generation

Section 1.3.4: Dependency on Massive Data

Comment 6 (for Chapter 1):

Clarification is needed on the intended meaning of the term ECG recovery. Does it refer to: denoising the ECG signal to enhance SNR, discovering or decoding ECG patterns such as heart rate; or as you might phrase it: “ECG recovery refers to the estimation of ECG equivalent signals from radar data, either through denoising or signal reconstruction, enabling cardiac feature extraction without direct skin contact”?

Response: